## Survey
Staten Island Mall 11 (0558)
File name = Theatre Name_TheatreID
AP Counts |  |  |  | Additional Copper Runs |  |  |  | Completed by AMC
Screen count | 11 |  |  | Auditoriums needing additional runs installed - Type All, N/A, or the specific AUD(s) | IMAX Only AUD #1 |  |  | Completed by Wachter
Existing MoJo AP count | 11 |  |  | For any value other than N/A above, how many additional runs are needed. | 2
Common area APs needed | 4 | 1 in Lobby, 1 in concessions, 1 in bar, 1 in hallway 3-6 by elevator |  | Total additional runs including Aud APs | 13
Meraki APs to be installed | 15
Fiber Needs
Switch Needs |  |  |  | Are additional fiber runs needed to support new/existing switches?
Are additional DCI switches needed? | No | *20 open ports on DCI-A ¦ 10 open ports on DCI-B |  | If above is yes, where are the fiber runs needed? List the switch to which they will run.
If above is yes, how many additional DCI switches are needed?
Are 424E-FIBER switches needed at the MDF to support redundant fiber uplinks to these new DCI switches? | No |  |  | Miscellaneous
If above is yes, is there room in the MDF rack for (2) 424E-FIBER switches? |  |  |  | Is there already a lift onsite? | Yes
Existing Booth Switches (example: AMC-0665-DCI-A) | Model | Serial Number | Number of connected APs | Ports with APs (Separated by commas. Ranges use dash) | Will switch be replaced? (y/n) | Location of switch MDF / IDF / DCIDF (booth) | Room # / Location
AMC-0558-DCI-A | WS-C2960X-48LPS-L | FCW2202B3L2 | 0 |  | No |  |  | IDF
AMC-0558-DCI-B | WS-C2960X-48LPS-L | FCW2202B3MW | 0 |  | No |  |  | IDF
Non-Booth Switches with APs (example: AMC-0665-ASW-48-A) | Model | Serial Number | Number of connected APs | Ports with APs (Separated by commas. Ranges use dash) | Will switch be replaced? (y/n) | Location of switch MDF / IDF / DCIDF (booth) | Room # / Location
AMC-0558-CSW-A | FortiSwitch-424E-FPOE | S424EFTF23002271 | 4 | 5,16,19-20 | No
AMC-0558-CSW-B | FortiSwitch-424E-FPOE | S424EFTF23002584 | 4 | 15,18-20 | No
AMC-0558-ASW-48-D | WS-C2960+48PST-L | FOC2218Y3LY | 3 | 23,39-40 | No
*All ASW switches PoE

## AP Info
Staten Island Mall 11 (0558)
Meraki AP MAC | AP Location (See key) | Switch (ex. DCI-A, CSW-B) | Switchport | Completed by AMC
Completed by Wachter
e4:55:a8:5b:17:60 | LOBBY | AMC-0558-CSW-B | 19
e4:55:a8:5b:1b:6b | BY ELEVATOR | AMC-0558-CSW-B | 20
e4:55:a8:5a:5d:82 | AP-AUD4 | DCI-B | 16 | Key
e4:55:a8:5a:f0:78 | AP-AUD7 | DCI-A | 33
e4:55:a8:5b:16:8e | AP-AUD11 | DCI-A | 38 | Auditorium | AUD-XX
e4:55:a8:5b:16:93 | AP-AUD10 | DCI-A | 37 | Concession | CONC
e4:55:a8:5b:16:7e | CONSESSION | AMC-0558-CSW-B | 15 | Guest Services | GS
e4:55:a8:5b:18:11 | BAR | AMC-0558-CSW-A | 20 | Bar | BAR
e4:55:a8:5a:5e:81 | AP-AUD2 | DCI-B | 21 | Ticket Drop | TD
e4:55:a8:5a:62:0a | AP-AUD3 | DCI-B | 15
e4:55:a8:5a:f3:08 | AP-AUD9 | DCI-A | 35
e4:55:a8:5a:5b:c3 | AP-AUD5 | DCI-B | 17
e4:55:a8:5a:ee:2c | AP-AUD8 | DCI-A | 34
e4:55:a8:5a:5d:51 | AP-AUD6 | DCI-B | 18
e4:55:a8:5a:5d:a4 | AP-AUD1 | DCI-B | 1
| S01 | DCI-B | 19
| BP01 | DCI-B | 20

## Checklist
Update switchport descriptions | Incomplete
Verify all ports are up at 1Gbps / full duplex | In progress
Update AP names in Meraki Dashboard | Completed
Verify Usherman is working
Verify Guest WiFi is working
Verify all Mojo are disconnected
Verify any new switches are added to Orion
Update existing Orion entry if a switch is replaced:
Update Name
Check custom properties to select yes on 448E-FPOE or 448E-POE, depending on model.
Update Node Group