## Survey
Garden State 16 (2253)
File name = Theatre Name_TheatreID
AP Counts |  |  |  | Additional Copper Runs |  |  |  | Completed by AMC
Screen count | 16 |  |  | Auditoriums needing additional runs installed - Type All, N/A, or the specific AUD(s) | All but AUD #3(Dolby) |  |  | Completed by Wachter
Existing MoJo AP count | 9 |  |  | For any value other than N/A above, how many additional runs are needed. | 30
Common area APs needed | 2 | Above Concession, Guest Services ¦ I circled them in green on the diagram | *We decided these two after comparing both floor layouts and pictures **Appears there is an old Meraki AP next to Mojo in concessions that can be removed. | Total additional runs including Aud APs | 46
Meraki APs to be installed | 18
Fiber Needs
Switch Needs |  |  |  | Are additional fiber runs needed to support new/existing switches?
Are additional DCI switches needed? | Yes | *3 open ports on DCI-01 ¦ 38 open ports on DCI-02 |  | If above is yes, where are the fiber runs needed? List the switch to which they will run.
If above is yes, how many additional DCI switches are needed? | 1 | **Verified open ports. We'll be adding additional switch to IDF with DCI-01
Are 424E-FIBER switches needed at the MDF to support redundant fiber uplinks to these new DCI switches? | Yes |  |  | Miscellaneous
If above is yes, is there room in the MDF rack for (2) 424E-FIBER switches? |  |  |  | Is there already a lift onsite?
Existing Booth Switches (example: AMC-0665-DCI-A) | Model | Serial Number | Number of connected APs | Ports with APs (Separated by commas. Ranges use dash) | Will switch be replaced? (y/n) | Location of switch MDF / IDF / DCIDF (booth) | Room # / Location
AMC-2253-DCI-01 | WS-C4948 | FOX1247GT1X | 2 | 42-43 | Yes
AMC-2253-DCI-02 | WS-C4948 | FOX1232H4Y0 | 0 |  | Yes
Non-Booth Switches with APs (example: AMC-0665-ASW-48-A) | Model | Serial Number | Number of connected APs | Ports with APs (Separated by commas. Ranges use dash) | Will switch be replaced? (y/n) | Location of switch MDF / IDF / DCIDF (booth) | Room # / Location
AMC-2253-CSW-A | FortiSwitch-424E-FPOE | S424EFTF23002524 | 1 | 5 | No
AMC-2253-ASW-48-A | WS-C2960+48PST-L | FOC1848Z0E2 | 6 | 37-38,43-46 | No
*All ASW switches are PoE

## AP Info
Garden State 16 (2253)
Meraki AP MAC | AP Location (See key) | Switch (ex. DCI-A, CSW-B) | Switchport | Completed by AMC
Completed by Wachter
e4:55:a8:5a:36:a8 | 2 | DCI-B | 20
e4:55:a8:5a:38:e4 | 3 | DCI-B | 24
e4:55:a8:5a:39:ca | 4 | DCI-B | 14 | Key
e4:55:a8:5a:3a:ab | 5 | DCI-C | 37
e4:55:a8:5a:3b:22 | 6 | DCI-C | 26 | Auditorium | AUD-XX
e4:55:a8:5a:3b:4e | 7 | DCI-C | 31 | Concession | CONC
e4:55:a8:5a:4a:2a | 8 | DCI-C | 32 | Guest Services | GS
e4:55:a8:5a:4a:84 | 12 | DCI-C | 5 | Bar | BAR
e4:55:a8:5a:4b:3c | BOX OFFICE | ASW-48-A | 37 | Ticket Drop | TD
e4:55:a8:5a:4b:3f | 9 | DCI-C | 2
e4:55:a8:5a:4c:3a | 10 | DCI-C | 1
e4:55:a8:5a:4d:84 | CONSESSION | ASW-48-A | 38
e4:55:a8:7d:58:8f | 11 | DCI-C | 8
e4:55:a8:7d:60:1b | 16 | DCI-C | 3
e4:55:a8:7d:71:b7 | Spare
e4:55:a8:7d:71:ca | 15 | DCI-C | 4
e4:55:a8:7d:71:e7 | 14 | DCI-C | 18
e4:55:a8:7d:72:b4 | 13 | DCI-C | 17

## Checklist
Update switchport descriptions | Incomplete
Verify all ports are up at 1Gbps / full duplex | Incomplete
Update AP names in Meraki Dashboard | Incomplete
Verify Usherman is working | Incomplete
Verify Guest WiFi is working | Incomplete
Verify all Mojo are disconnected | Incomplete
Verify any new switches are added to Orion | Incomplete
Update existing Orion entry if a switch is replaced: | Incomplete
Update Name | Incomplete
Check custom properties to select yes on 448E-FPOE or 448E-POE, depending on model. | Incomplete
Update Node Group | Incomplete
Verify IGMP is enabled on both DSWs. Only DSW-A will get the full config below. Verify with show switch vlan 60 | Incomplete
If DSWs installed, on CSWs in orion check custom properties to change CSW_Only to No and CSW_with_DSW to Yes | Incomplete
config switch vlan
edit 60
set igmp-snooping enable
set igmp-snooping-querier enable
set igmp-snooping-querier-addr 10.0.0.0
next
end
On all DCI FortiSwitches, run cmd: sh switch vlan 60. If igmp-snooping is enabled, disable it with cmds below. | Incomplete
config switch vlan
edit 60
set igmp-snooping disable
end