**Farmington Pre-K Academy**

**Sub-Contract work scopes**

**Foundation work**

**(follow Geomats Geotechnical report for Farmington Municipal Schools Pre-K Academy east)**

* **Excavate for footers and piers, these should be clean lined for bank placement**
* **Place spread footings**
* **Place stem walls**
* **Place piers with anchor bolts (templates per structural steel)**
* **Install vapor barrier**
* **Place slabs per specifications**

**Disclaimer:** The following is not intended to limit the subcontractors scope of work but to provide clarification and/or amplification of the work to be performed.  Work is to be bid per plans, specifications, addenda, ASI's, RFI's, applicable codes, manufacturer's recommendations, trade standards and tolerances.