## Budget
SYSTEC101 NEW YORK - 418 Broadway STE N, Albany, NY 12207. info@systec101.com 303-537-7575
Budget
Genesee ISD ECPS Construction:
Equipment and Labor:
Part Number | Section 1 - IDF Buildout - Unit 300 IDF (Phase 1) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
55053-703 | Chatsworth Standard Two-Post Relay Rack, 45 RMU, 19" W x 7’ H x 3" D, Black, Top Angle, UL Listed | 1 | 201 | 100 | 301 | 301
13912-703 | Chatsworth Cable Manager, Vertical, 45U Rack, 6" Width x 16.6" Depth x 80.5" Height, Plastic/Steel, Black, For CPI Rack System | 2 | 325.63 | 25 | 350.63 | 701.26
30130-719 | Chatsworth Horizontal cable manager, 2RU single-sided (black) | 4 | 67.32 | 12.5 | 79.82 | 319.28
10250-712 | Chatsworth 12"W ladder rack | 2 | 133.5 | 50 | 183.5 | 367
12100-712 | Chatsworth 12" W radius drop | 2 | 40.56 | 12.5 | 53.06 | 106.12
11312-712 | Chatsworth 12" W triangular wall bracket | 3 | 77.21 | 12.5 | 89.71 | 269.13
11421-712 | Chatsworth 12"W wall angle kit | 3 | 34.24 | 12.5 | 46.74 | 140.22
10506-706 | Chatsworth elevation kit for rack (black) | 1 | 60 | 12.5 | 72.5 | 72.5
12121-712 | Chatsworth rack to runway mounting plate | 1 | 64.84 | 12.5 | 77.34 | 77.34
11302-701 | Chatsworth junction splice kit | 2 | 12.57 | 12.5 | 25.07 | 50.14
11301-001 | Chatsworth butt splice kit | 2 | 11.81 | 12.5 | 24.31 | 48.62
11310-001 | Cable Runway Threaded Ceiling Kit | 4 | 38 | 12.5 | 50.5 | 202
10642-001 | Chatsworth end cap | 4 | 10.32 | 12.5 | 22.82 | 91.28
FS400 | 4 in. firestop sleeve kit | 2 | 100.96 | 50 | 150.96 | 301.92
34PLYWOODBC | 4X8FT 3/4IN Fire rated plywood | 1 | 80.05 | 50 | 130.05 | 130.05
RGRB19U | Rack Mount Grounding Busbar | 1 | 71.54 | 50 | 121.54 | 121.54
GB2B0312TPI-1 | Telecom Grounding Busbar | 1 | 113.23 | 50 | 163.23 | 163.23
GRND | Grounding Kit - Includes #6 Awg wire, lugs, screws and nuts | 1 | 200 | 100 | 300 | 300
Part Number | Section 2 - MDF - IDF Backbone Cabling (Phase 1) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
006T88-31190-29 | Corning 6-strand tight-buffered indoor multimode (OM4) plenum cable (per ft) | 540 | 1.06 | 0.6 | 1.66 | 896.4
CCH-01U | Corning 1U fiber enclosure, holds upto 2 CCH connector panels/cassettes | 1 | 286.74 | 50 | 336.74 | 336.74
CCH-CP06-E4 | Corning 6F LC duplex multimode (OM3/OM4) adapter panel | 2 | 75 | 25 | 100 | 200
95-050-99-X | Corning OM3/OM4 LC Connectors | 12 | 17.85 | 12.5 | 30.35 | 364.2
050502T5120002M | Corning OM3 LC-LC patchcords, 2m | 6 | 27.02 | 2.5 | 29.52 | 177.12
Part Number | Section 3 - Station Cabling (All Phases) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
ICCABT6VBL | ICC CAT6 Bulk Cable with 23 AWG UTP Solid Wires, CMP Jacket in a Pull Box, 1000 Feet, Blue | 60000 | 0.27 | 0.21 | 0.48 | 28800
H2-1078L6BL | ICC Cat6 EZ style jack | 285 | 2.77 | 3.5 | 6.27 | 1786.95
H2-MPP04860 | ICC Cat6 Patch Panel 48 Port 2 RU BL | 7 | 196.85 | 100 | 296.85 | 2077.95
30130-719 | Chatsworth Horizontal cable manager, 2RU single-sided (black) | 3 | 67.32 | 12.5 | 79.82 | 239.46
FS400 | 4 in. firestop sleeve kit | 2 | 100.96 | 50 | 150.96 | 301.92
IC107F02WH | ICC 2-port faceplate white | 85 | 1.88 | 1.5 | 3.38 | 287.3
IC107F01WH | ICC 1-port faceplate white | 43 | 1.88 | 1.5 | 3.38 | 145.34
IC107F04WH | ICC 4-port faceplate white | 2 | 1.88 | 1.5 | 3.38 | 6.76
IC107SB1WH | ICC 1- port Surface Mount Box | 48 | 1.5 | 1.5 | 3 | 144
650-03 BL | Cat6 Ethernet Patch Cable - No Boot, 3 ft | 100 | 2.35 | 1.67 | 4.02 | 402
650-05 BL | Cat6 Ethernet Patch Cable - No Boot, 5 ft | 250 | 2.95 | 1.67 | 4.62 | 1155
650-07 BL | Cat6 Ethernet Patch Cable - No Boot, 7 ft | 150 | 3.67 | 1.67 | 5.34 | 801
650-10 BL | Cat6 Ethernet Patch Cable - No Boot, 10 ft | 75 | 4.27 | 1.67 | 5.94 | 445.5
650-25 BL | Cat6 Ethernet Patch Cable - No Boot, 25 ft | 20 | 9.59 | 1.67 | 11.26 | 225.2
650-03 GN | Cat6 Ethernet Patch Cable - No Boot, 3 ft | 25 | 2.35 | 1.67 | 4.02 | 100.5
650-05 GN | Cat6 Ethernet Patch Cable - No Boot, 5 ft | 25 | 2.95 | 1.67 | 4.62 | 115.5
650-03 WH | Cat6 Ethernet Patch Cable - No Boot, 3 ft | 25 | 2.35 | 1.67 | 4.02 | 100.5
650-05 WH | Cat6 Ethernet Patch Cable - No Boot, 5 ft | 25 | 2.95 | 1.67 | 4.62 | 115.5
ICCMSJHW44 | ICC 2" J-hook High performance | 120 | 3.28 | 8 | 11.28 | 1353.6
ICCMSJHW55 | ICC 4" J-hook High performance | 80 | 4.44 | 8 | 12.44 | 995.2
X-HS 10W U | Hilti threaded rod hanger with nail | 100 | 2.5 | 8 | 10.5 | 1050
30987 | VELCRO 3/4" one-wrap on 25 yard roll plenum | 5 | 35.4 | 50 | 85.4 | 427
1700-1PK-BB40 | 3M Electric tapes | 20 | 3 | 0 | 3 | 60
PLT3I-C | Panduit Tie wraps (100/bag) | 5 | 33.8 | 0 | 33.8 | 169
N/A | Labeling kits | 1 | 500 | 300 | 800 | 800
N/A | Miscellaneous materials | 1 | 2000 | 0 | 2000 | 2000
N/A | Owner Furnished Camera Install Only | 24 | 0 | 50 | 50 | 1200
N/A | Owner Furnished WAP Install Only | 24 | 0 | 25 | 25 | 600
N/A | Phase 2 – Station Cabling Clean Up | 3 | 0 | 800 | 800 | 2400
Part Number | Section 4 -Multipurpose Room (All Phases) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
6131785 | Prysmain GenSpeed Cat6 shielded cable plenum blue | 1000 | 0.847 | 0.3 | 1.147 | 1147
SPS688-C | Leviton Atlas Cat6 shielded term plugs | 10 | 2.37 | 5 | 7.37 | 73.7
AT-OME-CS31-SA-HDBT | Atlona 3x1 AV switcher with mixer amplifier, and USB hub | 1 | 1500 | 25 | 1525 | 1525
Ben-Q-LH 730 | Benq 1080p LED conference room projector | 1 | 1040 | 125 | 1165 | 1165
Ben-Q-LH 730 | Benq 1080p LED conference room projector Mounting Hardware | 1 | 400 | 50 | 450 | 450
AT-VKP-8E | Atlona velocity 8-button IP-based keypad controller | 1 | 408.66 | 50 | 458.66 | 458.66
DF-151102 | Draper acumen screen 16:10 109" matte white | 1 | 1258 | 125 | 1383 | 1383
AT-OME-SW21-TX-WPC | Atlona wallplate HDBaseT Transmitter with USB-C and HDMI Inputs, USB | 1 | 687.89 | 50 | 737.89 | 737.89
C-HM/HM/PICO | Kramer HDMI cable male to male cable 10ft | 3 | 10.29 | 5 | 15.29 | 45.87
CP–AOCU31/CC–10 | Kramer USB gen 3.1 Type C plenum cable 10ft | 1 | 154.27 | 5 | 159.27 | 159.27
AT-OME-TX11-WP | Atlona HDbaseT Transmitter plate HDMI and power | 1 | 258.2 | 25 | 283.2 | 283.2
AT-OME-RX11 | Atlona HDbaseT Receiver for HDMI with audio | 1 | 417.44 | 25 | 442.44 | 442.44
GSM4212P | Netgear 8x1G PoE+ 125W 2x1G and 2xSFP managed switch | 1 | 495.33 | 25 | 520.33 | 520.33
AT-GAIN-60 | Atlona 2-channel compact amplifier 60W RMS | 1 | 362.92 | 25 | 387.92 | 387.92
SM58 | Shure vocal microphone cartridge | 1 | 109.49 | 25 | 134.49 | 134.49
QLXD14 | Shure Combo system with bodypack and receiver | 1 | 950 | 25 | 975 | 975
WL185M | Shure lavalier microphone cordiod black | 1 | 125.54 | 25 | 150.54 | 150.54
CSS8008 | JBL professional 8" 5Watt Ceiling loudspeakers, white | 4 | 23.14 | 25 | 48.14 | 192.56
CSS-BB8x6 | JBL professional for 8" speakers | 4 | 16.07 | 0 | 16.07 | 64.28
LPT-A107-B | Listen technologies Dual RCA to Dual RCA cable 6.6ft | 1 | 6.32 | 0 | 6.32 | 6.32
32211012 | Genesis 16/2 Shielded riser cable 1000ft reel, white | 1 | 110.15 | 50 | 160.15 | 160.15
21145501 | Genisis 18/2 Shielded riser cable 500ft white | 2 | 63.77 | 50 | 113.77 | 227.54
WP25225B | Westpenn Standard line level 16/2 cable 500ft | 1 | 135.15 | 50 | 185.15 | 185.15
AT-VDM-SW | Velocity device manager software | 1 | 0 | 200 | 200 | 200
N/A | Miscellaneous materials | 1 | 1400 | 0 | 1400 | 1400
Part Number | Section 5 - Classroom Sound Amplification (All Phases) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
SP-628 | Teachlogic 6.5" ceiling speakers | 104 | 50 | 25 | 75 | 7800
TB-6.1 | Teachlogic tile bridge for ceiling speakers | 104 | 44.95 | 0 | 44.95 | 4674.8
IRT-60N | Teachlogic sapphire handsfree microphone | 26 | 265.38 | 5 | 270.38 | 7029.88
IMA-840 | Teachlogic Spectrum Amplifier | 26 | 563.75 | 25 | 588.75 | 15307.5
CG22602 | C2G CG22602 slim Aux 3.5mm audio cable 10ft | 52 | 3.36 | 10 | 13.36 | 694.72
IRH-35 | Teachlogic handheld microphone | 26 | 230.86 | 5 | 235.86 | 6132.36
BR-AA4 | Teachlogic lithium battery 4/pack | 26 | 34.3 | 0 | 34.3 | 891.8
21145501 | Genisis 18/2 Shielded riser cable 500ft white | 26 | 63.77 | 50 | 113.77 | 2958.02
BRC-60 | Teachlogic drop-in charger | 26 | 99 | 12.5 | 111.5 | 2899
N/A | Miscellaneous materials | 26 | 100 | 0 | 100 | 2600
WPD-HD-U3C-AW | WPD-HD-U3C-AW Single Gang Pass-Through Decorative Wall Plate with HDMI Female Port and USB 3.0 Type Pigtail, White | 26 | 40 | 12.5 | 52.5 | 1365
Fosmon HDMI | Fosmon 4K HDMI Cable 15FT/4.5M, HDMI 2.0 Cable 4K@60Hz/2160p | 26 | 20 | 25 | 45 | 1170
USB-C Cable | 15ft USB-C to USB-C Cable Long, 60W USB Type C | 26 | 20 | 25 | 45 | 1170
87697 | Single gang brush faceplate | 26 | 15 | 12.5 | 27.5 | 715
C-HM/HM/PICO | Kramer HDMI cable male to male cable 10ft | 20 | 10.29 | 0 | 10.29 | 205.8
C-HM/HM/PICO | Kramer HDMI cable male to male cable 5ft | 20 | 9.25 | 0 | 9.25 | 185
WP315-8100 | HDMI Wall Plate | 2 | 15 | 12.5 | 27.5 | 55
HDMI-50FT | BlueRigger 4K HDMI Cable 50FT (4K 30Hz, HDR10, in-Wall CL3 Rated, High Speed, HDCP2.3, eARC) - Long HDMI Cable | 1 | 38 | 50 | 88 | 88
Part Number | Section 6 - Equipment (All Phases) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
ICX 7150-48ZP | 48-port Ruckus ICX 7150-48ZP - Z-Series - switch - 48 ports - managed - rack-mountable | 4 | 3900 | 0 | 3900 | 15600
R-650 | R650-US00 R650 Dual-band Wrls 802.11ax Wireless Access Point | 24 | 450 | 0 | 450 | 10800
BE55T-HTV | BE55T-H Business TV | 1 | 700 | 0 | 700 | 700
MTM1U | Medium Fusion® Micro-Adjustable Tilt Wall Mount | 1 | 200 | 12.5 | 212.5 | 212.5
N/A | Promethean Boards Move and Re-Install Phase 1 | 13 | 0 | 200 | 200 | 2600
N/A | Promethean Boards Install Phase 3 | 7 | 0 | 125 | 125 | 875
| Grand Total (Equipment and labor): |  |  |  |  | 153246.96
[5 empty] | Side | Row Count
[5 empty] | Budget | 107
[5 empty] | proposal | 107

## Proposal
SYSTEC101 NEW YORK - 418 Broadway STE N, Albany, NY 12207. info@systec101.com 303-537-7575
Genesee ISD ECPS Construction
Date: 9/30/2024
Base Proposal
SYSTEC101 will be providing the following:
Please note that based on general contractor's request, SYSTEC101 will install equipment and low voltage cabling - Cat 6 and A/V Cabling.
Site address : 5089 Pilgrim Road, Flint, MI 48507.
Scope of Work
Genesee ISD ECPS Construction:
Section 1 - IDF Buildout - Unit 300 IDF (Phase 1):
1. | We will furnish and install (1) Chatsworth Standard Two-Post Relay Rack, 45 RMU, 19" W x 7’ H x 3" D, (black).
2. | We will furnish and install (2) Chatsworth Cable Manager, Vertical, 45U Rack, 6" W x 16.6" D x 80.5" H, (black).
3. | We will furnish and install (4) Chatsworth Horizontal cable manager, 2RU single-sided (black).
4. | We will furnish and install (2) Chatsworth 12"W ladder rack.
5. | We will furnish and install (2) Chatsworth 12" W radius drop.
6. | We will furnish and install (3) Chatsworth 12" W triangular wall bracket.
7. | We will furnish and install (3) Chatsworth 12"W wall angle kit.
8. | We will furnish and install (1) Chatsworth elevation kit for rack (black).
9. | We will furnish and install (1) Chatsworth rack to runway mounting plate.
10. | We will furnish and install (2) Chatsworth junction splice kit.
11. | We will furnish and install (2) Chatsworth butt splice kit.
12. | We will furnish and install (4) Cable Runway Threaded Ceiling Kit.
13. | We will furnish and install (4) Chatsworth end cap.
14. | We will furnish and install (2) 4 in. firestop sleeve kit.
15. | We will furnish and install (1) 4X8FT 3/4IN Fire rated plywood.
16. | We will furnish and install (1) Rack Mount Grounding Busbar.
17. | We will furnish and install (1) Telecom Grounding Busbar.
Section 2 - MDF - IDF Backbone Cabling (Phase 1):
1. | We will furnish and install (1) 6-strand tight-buffered indoor multimode (OM4) plenum cable from MDF to new IDF. The fiber will be terminated on a 1U rack mount fiber enclosure on both ends. We will provide required patch cords at both ends.
2. | We will provide all necessary fiber hardware and euipment.
Section 3 - Station Cabling (All phases):
1. | We will furnish and install (60) boxes of CAT6 cables and (285) Jacks to install station cabling from the IT room.
2. | We will furnish and install (7) ICC Cat6 Patch Panel 48 Port 2 RU BL.
3. | We will furnish and install (3) Chatsworth Horizontal cable manager, 2RU single-sided (black).
4. | We will furnish and install (2) 4" fire dtop Sleeve.
5. | We will furnish and install (85) ICC 2-port faceplate white.
6. | We will furnish and install (43) ICC 1-port faceplate white.
7. | We will furnish and install (2) ICC 4-port faceplate white.
8. | We will furnish and install (48) ICC 1- port Surface Mount Box.
9. | We will furnish and install (100) Cat6 Ethernet Patch Cable - No Boot, 3 ft (blue).
10. | We will furnish and install (250) Cat6 Ethernet Patch Cable - No Boot, 5 ft (blue).
11. | We will furnish and install (150) Cat6 Ethernet Patch Cable - No Boot, 7 ft (blue).
12. | We will furnish and install (75) Cat6 Ethernet Patch Cable - No Boot, 10 ft (blue).
13. | We will furnish and install (20) Cat6 Ethernet Patch Cable - No Boot, 25 ft (blue).
14. | We will furnish and install (25) Cat6 Ethernet Patch Cable - No Boot, 3 ft (Green).
15. | We will furnish and install (25) Cat6 Ethernet Patch Cable - No Boot, 5 ft (Green).
16. | We will furnish and install (25) Cat6 Ethernet Patch Cable - No Boot, 3 ft (White).
17. | We will furnish and install (25) Cat6 Ethernet Patch Cable - No Boot, 5 ft (White).
18. | We will install (24) owner furnished cameras.
19. | We will furnish and install (24) owner furnished WAP devices.
20. | We will furnish and install required amount of supporting materials like J-hooks, threaded rods and tapes for the complete installation for the system.
Section 4 -Multipurpose Room (All Phases):
1. | We will furnish and install (1) Atlona 3x1 AV switcher with mixer amplifier, and USB hub.
2. | We will furnish and install (1) Benq 1080p LED conference room projector and mounting hardware for it.
3. | We will furnish and install (1) Atlona velocity 8-button IP-based keypad controller.
4. | We will furnish and install (1) Draper acumen screen 16:10 109" matte white.
5. | We will furnish and install (1) Atlona wallplate HDBaseT Transmitter with USB-C and HDMI Inputs, USB.
6. | We will furnish and install (1) Atlona HDbaseT Transmitter plate HDMI and power.
7. | We will furnish and install (1) Atlona HDbaseT Receiver for HDMI with audio.
8. | We will furnish and install (1) Netgear 8x1G PoE+ 125W 2x1G and 2xSFP managed switch.
9. | We will furnish and install (1) Atlona 2-channel compact amplifier 60W RMS.
10. | We will furnish and install (1) Shure vocal microphone cartridge.
11. | We will furnish and install (1) Shure Combo system with bodypack and receiver.
12. | We will furnish and install (1) Shure lavalier microphone cordiod black.
13. | We will furnish and install (4) JBL professional 8" 5Watt Ceiling loudspeakers, white.
14. | We will furnish and install (4) JBL professional for 8" speakers.
Section 5 - Classroom Sound Amplification (All Phases):
1. | We will furnish and install (104) Teachlogic 6.5" ceiling speakers with tile bridge.
2. | We will furnish and install (26) Teachlogic sapphire handsfree microphone.
3. | We will furnish and install (26) Teachlogic Spectrum Amplifier.
4. | We will furnish and install (26) Teachlogic handheld microphone.
5. | We will furnish and install (26) Teachlogic lithium battery 4/pack.
6. | We will furnish and install (26) Single gang brush faceplate.
7. | We will furnish and install (2) HDMI Wall Plate.
Section 6 - Equipment (All Phases)
1. | We will furnish and install (4) 48-port Ruckus ICX 7150-48ZP - Z-Series - switch - 48 ports - managed - rack-mountable.
2. | We will furnish and install (24) R650-US00 R650 Dual-band Wrls 802.11ax Wireless Access Point.
3. | We will furnish and install (1) BE55T-H Business TV and wall mount for it.
4. | We will furnish and install (13) Promethean Boards Move and Re-Install Phase 1.
5. | We will furnish and install (7) Promethean Boards Install Phase 3.
Qualifications:
1. | Uplinking the entire network using active electronics by others. We will only provide empty network infrastructure, powering the network using network would be the customer's responsibility.
2. | Phase 3 Cabling would go to Existing MDF with exisiting rack and other necessary hardware. MDF build out is not included in this proposal.
3. | Promethean boards to be exisiting or customer provided.
4. | Workstation to be provided by District
5. | No conduit and back box will be provided. It should be furnish and installed by the electrical contractor. We will not responisble for it.
6. | Conduit and back box should be made ready prior cable installation.
7. | No backbone cable (copper and fiber) till MDF is included in this proposal.
Warranty:
1. | SYSTEC101 warrants that it has satisfactorily performed the installation work comprising the Project and agrees to repair without additional cost to the Customer any malfunctions or defects of the Project arising from its installation services or its customization or modification of purchased equipment, if the Project involved such customization or modification. This warranty shall expire one year after the completion of the Project. SYSTEC101 is not responsible for and does not warrant the satisfactory performance of the equipment installed as part of the Project excepting for any customization and modification performed by SYSTEC101 and the Customer must look solely to any equipment manufacturer warranties in the event of equipment malfunctions or defects. If a malfunction or defect in the Project is determined to be equipment related, SYSTEC101 during its one year warrant period will reasonably assist Customer is obtaining any warranty coverage provided by equipment manufacturers.
2. | Manufacturer's warranty for 25-years will be provided.
Genesee ISD ECPS Construction:
Equipment and Labor:
Part Number | Materials | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
55053-703 | Chatsworth Standard Two-Post Relay Rack, 45 RMU, 19" W x 7’ H x 3" D, Black, Top Angle, UL Listed | 1 | 231.15 | 200 | 431.15 | 431.15
13912-703 | Chatsworth Cable Manager, Vertical, 45U Rack, 6" Width x 16.6" Depth x 80.5" Height, Plastic/Steel, Black, For CPI Rack System | 2 | 374.4745 | 50 | 424.4745 | 848.949
30130-719 | Chatsworth Horizontal cable manager, 2RU single-sided (black) | 4 | 77.418 | 25 | 102.418 | 409.672
10250-712 | Chatsworth 12"W ladder rack | 2 | 153.525 | 100 | 253.525 | 507.05
12100-712 | Chatsworth 12" W radius drop | 2 | 46.644 | 25 | 71.644 | 143.288
11312-712 | Chatsworth 12" W triangular wall bracket | 3 | 88.7915 | 25 | 113.7915 | 341.3745
11421-712 | Chatsworth 12"W wall angle kit | 3 | 39.376 | 25 | 64.376 | 193.128
10506-706 | Chatsworth elevation kit for rack (black) | 1 | 69 | 25 | 94 | 94
12121-712 | Chatsworth rack to runway mounting plate | 1 | 74.566 | 25 | 99.566 | 99.566
11302-701 | Chatsworth junction splice kit | 2 | 14.4555 | 25 | 39.4555 | 78.911
11301-001 | Chatsworth butt splice kit | 2 | 13.5815 | 25 | 38.5815 | 77.163
11310-001 | Cable Runway Threaded Ceiling Kit | 4 | 43.7 | 25 | 68.7 | 274.8
10642-001 | Chatsworth end cap | 4 | 11.868 | 25 | 36.868 | 147.472
FS400 | 4 in. firestop sleeve kit | 2 | 116.104 | 100 | 216.104 | 432.208
34PLYWOODBC | 4X8FT 3/4IN Fire rated plywood | 1 | 92.0575 | 100 | 192.0575 | 192.0575
RGRB19U | Rack Mount Grounding Busbar | 1 | 82.271 | 100 | 182.271 | 182.271
GB2B0312TPI-1 | Telecom Grounding Busbar | 1 | 130.2145 | 100 | 230.2145 | 230.2145
GRND | Grounding Kit - Includes #6 Awg wire, lugs, screws and nuts | 1 | 230 | 200 | 430 | 430
Part Number | Section 2 - MDF - IDF Backbone Cabling (Phase 1) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
006T88-31190-29 | Corning 6-strand tight-buffered indoor multimode (OM4) plenum cable (per ft) | 540 | 1.219 | 1.2 | 2.419 | 1306.26
CCH-01U | Corning 1U fiber enclosure, holds upto 2 CCH connector panels/cassettes | 1 | 329.751 | 100 | 429.751 | 429.751
CCH-CP06-E4 | Corning 6F LC duplex multimode (OM3/OM4) adapter panel | 2 | 86.25 | 50 | 136.25 | 272.5
95-050-99-X | Corning OM3/OM4 LC Connectors | 12 | 20.5275 | 25 | 45.5275 | 546.33
050502T5120002M | Corning OM3 LC-LC patchcords, 2m | 6 | 31.073 | 5 | 36.073 | 216.438
Part Number | Section 3 - Station Cabling (All Phases) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
ICCABT6VBL | ICC CAT6 Bulk Cable with 23 AWG UTP Solid Wires, CMP Jacket in a Pull Box, 1000 Feet, Blue | 60000 | 0.3105 | 0.42 | 0.7305 | 43830
H2-1078L6BL | ICC Cat6 EZ style jack | 285 | 3.1855 | 7 | 10.1855 | 2902.8675
H2-MPP04860 | ICC Cat6 Patch Panel 48 Port 2 RU BL | 7 | 226.3775 | 200 | 426.3775 | 2984.6425
30130-719 | Chatsworth Horizontal cable manager, 2RU single-sided (black) | 3 | 77.418 | 25 | 102.418 | 307.254
FS400 | 4 in. firestop sleeve kit | 2 | 116.104 | 100 | 216.104 | 432.208
IC107F02WH | ICC 2-port faceplate white | 85 | 2.162 | 3 | 5.162 | 438.77
IC107F01WH | ICC 1-port faceplate white | 43 | 2.162 | 3 | 5.162 | 221.966
IC107F04WH | ICC 4-port faceplate white | 2 | 2.162 | 3 | 5.162 | 10.324
IC107SB1WH | ICC 1- port Surface Mount Box | 48 | 1.725 | 3 | 4.725 | 226.8
650-03 BL | Cat6 Ethernet Patch Cable - No Boot, 3 ft | 100 | 2.7025 | 3.34 | 6.0425 | 604.25
650-05 BL | Cat6 Ethernet Patch Cable - No Boot, 5 ft | 250 | 3.3925 | 3.34 | 6.7325 | 1683.125
650-07 BL | Cat6 Ethernet Patch Cable - No Boot, 7 ft | 150 | 4.2205 | 3.34 | 7.5605 | 1134.075
650-10 BL | Cat6 Ethernet Patch Cable - No Boot, 10 ft | 75 | 4.9105 | 3.34 | 8.2505 | 618.7875
650-25 BL | Cat6 Ethernet Patch Cable - No Boot, 25 ft | 20 | 11.0285 | 3.34 | 14.3685 | 287.37
650-03 GN | Cat6 Ethernet Patch Cable - No Boot, 3 ft | 25 | 2.7025 | 3.34 | 6.0425 | 151.0625
650-05 GN | Cat6 Ethernet Patch Cable - No Boot, 5 ft | 25 | 3.3925 | 3.34 | 6.7325 | 168.3125
650-03 WH | Cat6 Ethernet Patch Cable - No Boot, 3 ft | 25 | 2.7025 | 3.34 | 6.0425 | 151.0625
650-05 WH | Cat6 Ethernet Patch Cable - No Boot, 5 ft | 25 | 3.3925 | 3.34 | 6.7325 | 168.3125
ICCMSJHW44 | ICC 2" J-hook High performance | 120 | 3.772 | 16 | 19.772 | 2372.64
ICCMSJHW55 | ICC 4" J-hook High performance | 80 | 5.106 | 16 | 21.106 | 1688.48
X-HS 10W U | Hilti threaded rod hanger with nail | 100 | 2.875 | 16 | 18.875 | 1887.5
30987 | VELCRO 3/4" one-wrap on 25 yard roll plenum | 5 | 40.71 | 100 | 140.71 | 703.55
1700-1PK-BB40 | 3M Electric tapes | 20 | 3.45 | 0 | 3.45 | 69
PLT3I-C | Panduit Tie wraps (100/bag) | 5 | 38.87 | 0 | 38.87 | 194.35
N/A | Labeling kits | 1 | 575 | 600 | 1175 | 1175
N/A | Miscellaneous materials | 1 | 2300 | 0 | 2300 | 2300
N/A | Owner Furnished Camera Install Only | 24 | 0 | 100 | 100 | 2400
N/A | Owner Furnished WAP Install Only | 24 | 0 | 50 | 50 | 1200
N/A | Phase 2 – Station Cabling Clean Up | 3 | 0 | 1600 | 1600 | 4800
Part Number | Section 4 -Multipurpose Room (All Phases) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
6131785 | Prysmain GenSpeed Cat6 shielded cable plenum blue | 1000 | 0.97405 | 0.6 | 1.574 | 1574.05
SPS688-C | Leviton Atlas Cat6 shielded term plugs | 10 | 2.7255 | 10 | 12.7255 | 127.255
AT-OME-CS31-SA-HDBT | Atlona 3x1 AV switcher with mixer amplifier, and USB hub | 1 | 1725 | 50 | 1775 | 1775
Ben-Q-LH 730 | Benq 1080p LED conference room projector | 1 | 1196 | 250 | 1446 | 1446
Ben-Q-LH 730 | Benq 1080p LED conference room projector Mounting Hardware | 1 | 460 | 100 | 560 | 560
AT-VKP-8E | Atlona velocity 8-button IP-based keypad controller | 1 | 469.959 | 100 | 569.959 | 569.959
DF-151102 | Draper acumen screen 16:10 109" matte white | 1 | 1446.7 | 250 | 1696.7 | 1696.7
AT-OME-SW21-TX-WPC | Atlona wallplate HDBaseT Transmitter with USB-C and HDMI Inputs, USB | 1 | 791.0735 | 100 | 891.0735 | 891.0735
C-HM/HM/PICO | Kramer HDMI cable male to male cable 10ft | 3 | 11.8335 | 10 | 21.8335 | 65.5005
CP–AOCU31/CC–10 | Kramer USB gen 3.1 Type C plenum cable 10ft | 1 | 177.4105 | 10 | 187.4105 | 187.4105
AT-OME-TX11-WP | Atlona HDbaseT Transmitter plate HDMI and power | 1 | 296.93 | 50 | 346.93 | 346.93
AT-OME-RX11 | Atlona HDbaseT Receiver for HDMI with audio | 1 | 480.056 | 50 | 530.056 | 530.056
GSM4212P | Netgear 8x1G PoE+ 125W 2x1G and 2xSFP managed switch | 1 | 569.6295 | 50 | 619.6295 | 619.6295
AT-GAIN-60 | Atlona 2-channel compact amplifier 60W RMS | 1 | 417.358 | 50 | 467.358 | 467.358
SM58 | Shure vocal microphone cartridge | 1 | 125.9135 | 50 | 175.9135 | 175.9135
QLXD14 | Shure Combo system with bodypack and receiver | 1 | 1092.5 | 50 | 1142.5 | 1142.5
WL185M | Shure lavalier microphone cordiod black | 1 | 144.371 | 50 | 194.371 | 194.371
CSS8008 | JBL professional 8" 5Watt Ceiling loudspeakers, white | 4 | 26.611 | 50 | 76.611 | 306.444
CSS-BB8x6 | JBL professional for 8" speakers | 4 | 18.4805 | 0 | 18.4805 | 73.922
LPT-A107-B | Listen technologies Dual RCA to Dual RCA cable 6.6ft | 1 | 7.268 | 0 | 7.268 | 7.268
32211012 | Genesis 16/2 Shielded riser cable 1000ft reel, white | 1 | 126.6725 | 100 | 226.6725 | 226.6725
21145501 | Genisis 18/2 Shielded riser cable 500ft white | 2 | 73.3355 | 100 | 173.3355 | 346.671
WP25225B | Westpenn Standard line level 16/2 cable 500ft | 1 | 155.4225 | 100 | 255.4225 | 255.4225
AT-VDM-SW | Velocity device manager software | 1 | 0 | 400 | 400 | 400
N/A | Miscellaneous materials | 1 | 1610 | 0 | 1610 | 1610
Part Number | Section 5 - Classroom Sound Amplification (All Phases) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
SP-628 | Teachlogic 6.5" ceiling speakers | 104 | 57.5 | 50 | 107.5 | 11180
TB-6.1 | Teachlogic tile bridge for ceiling speakers | 104 | 51.6925 | 0 | 51.6925 | 5376.02
IRT-60N | Teachlogic sapphire handsfree microphone | 26 | 305.187 | 10 | 315.187 | 8194.862
IMA-840 | Teachlogic Spectrum Amplifier | 26 | 648.3125 | 50 | 698.3125 | 18156.125
CG22602 | C2G CG22602 slim Aux 3.5mm audio cable 10ft | 52 | 3.864 | 20 | 23.864 | 1240.928
IRH-35 | Teachlogic handheld microphone | 26 | 265.489 | 10 | 275.489 | 7162.714
BR-AA4 | Teachlogic lithium battery 4/pack | 26 | 39.445 | 0 | 39.445 | 1025.57
21145501 | Genisis 18/2 Shielded riser cable 500ft white | 26 | 73.3355 | 100 | 173.3355 | 4506.723
BRC-60 | Teachlogic drop-in charger | 26 | 113.85 | 25 | 138.85 | 3610.1
N/A | Miscellaneous materials | 26 | 115 | 0 | 115 | 2990
WPD-HD-U3C-AW | WPD-HD-U3C-AW Single Gang Pass-Through Decorative Wall Plate with HDMI Female Port and USB 3.0 Type Pigtail, White | 26 | 46 | 25 | 71 | 1846
Fosmon HDMI | Fosmon 4K HDMI Cable 15FT/4.5M, HDMI 2.0 Cable 4K@60Hz/2160p | 26 | 23 | 50 | 73 | 1898
USB-C Cable | 15ft USB-C to USB-C Cable Long, 60W USB Type C | 26 | 23 | 50 | 73 | 1898
87697 | Single gang brush faceplate | 26 | 17.25 | 25 | 42.25 | 1098.5
C-HM/HM/PICO | Kramer HDMI cable male to male cable 10ft | 20 | 11.8335 | 0 | 11.8335 | 236.67
C-HM/HM/PICO | Kramer HDMI cable male to male cable 5ft | 20 | 10.6375 | 0 | 10.6375 | 212.75
WP315-8100 | HDMI Wall Plate | 2 | 17.25 | 25 | 42.25 | 84.5
HDMI-50FT | BlueRigger 4K HDMI Cable 50FT (4K 30Hz, HDR10, in-Wall CL3 Rated, High Speed, HDCP2.3, eARC) - Long HDMI Cable | 1 | 43.7 | 100 | 143.7 | 143.7
Part Number | Section 6 - Equipment (All Phases) | Quantity | Material Price | Labor Cost | Unit Price | Ext.Price
ICX 7150-48ZP | 48-port Ruckus ICX 7150-48ZP - Z-Series - switch - 48 ports - managed - rack-mountable | 4 | 4485 | 0 | 4485 | 17940
R-650 | R650-US00 R650 Dual-band Wrls 802.11ax Wireless Access Point | 24 | 517.5 | 0 | 517.5 | 12420
BE55T-HTV | BE55T-H Business TV | 1 | 805 | 0 | 805 | 805
MTM1U | Medium Fusion® Micro-Adjustable Tilt Wall Mount | 1 | 230 | 25 | 255 | 255
N/A | Promethean Boards Move and Re-Install Phase 1 | 13 | 0 | 400 | 400 | 5200
N/A | Promethean Boards Install Phase 3 | 7 | 0 | 250 | 250 | 1750
| Total Equipment and Labor Cost |  |  |  |  | 207823.5315
| Tax on Equipment (Tax Exempt): |  |  |  | 0% | 0
|  |  |  | Grand Total : |  | 207823.5315
Purchase Authorization
Date